## Slide 1
Learning Objectives
• Use equipment required in Electrical System
• Change basic settings of an Electrical System
• Configure electrical options
• Create wires
• Create a cable tray
• Create an electrical panel
• Create a cable tray fitting
• Add conduit fittings
• Calculate total load of devices
• Calculate loads and wire size

## Slide 2
Introduction
An electrical system is used to transmit power from one location to the other.
It is composed of equipment, panels, cable trays, wires, conduits and so on.
For creating an electrical system, choose the Electrical option from the Workspace Switching flyout, the Electrical workspace will be activated.

## Slide 3
ADDING EQUIPMENT
Figure 7-1 The Equipment drop-down
Figure 7-2 The Add Multi-view Parts dialog box with the 200-600 kW Emergency Power Generator - Diesel part selected
Generator

## Slide 4
Figure 7-3 The Add Multi-view Parts dialog box with the 13 Hole Large Outlet Boxes part selected
Junction Box

## Slide 5
Switchboard
A switchboard is an arrangement of electrical switches connected to each other in a close packed unit.
To add a switchboard, choose the Switchboard tool from the Equipment drop-down of the Build panel in the Home tab of the Ribbon; the Add Multi-view Parts dialog box will be displayed.
Figure 7-4 The Add Multi-view Parts dialog box with the Circuit Breaker Switchboard part selected

## Slide 6
Figure 7-5 The Add Multi-view Parts dialog box
Equipment
choose the Equipment tool from the Equipment drop-down of the Build panel in the Home tab of the ribbon; the Add Multi-view Parts dialog box will be displayed.

## Slide 7
Figure 7-6 Preview of the panel
Figure 7-7 The PROPERTIES palette displayed on choosing the Panel tool
PANEL
Panels are, the distribution boxes in which various switches are arranged for a specific purpose.

## Slide 8
Figure 7-8 The Select style dialog box
Style
Style option is used to change the style of the panel to be created.

## Slide 9
Figure 7-9 The Circuit Settings dialog box
Circuit Settings

## Slide 10
DEVICE
Figure 7-10 The PROPERTIES palette displayed on choosing the Device tool
This tool is used to insert an electrical device in the drawing area.
This tool is available in the Build panel of the Home tab in the Ribbon.

## Slide 11
Figure 7-11 The Select Style dialog box
Style
This option is used to select the type of device to be inserted in the drawing area.

## Slide 12
Figure 7-12 The Electrical Properties dialog box
Electrical Property

## Slide 13
Figure 7-13 The Add Cable Trays dialog box
CABLE TRAY
This tool is used to add a cable tray for supporting the cables.
To add a cable tray, choose the Cable Tray tool from the Build panel in the Home tab of the Ribbon; you will be prompted to specify start point of the cable tray.

## Slide 14
Figure 7-14 The Add Cable Tray Fittings dialog box
CABLE TRAY FITTING
This tool is used to add a user defined cable tray fitting.
To create a cable tray fitting, choose the Cable Tray Fitting tool from the Build panel in the Home tab of the Ribbon; the Add Cable Tray Fitting dialog box will be displayed.

## Slide 15
Figure 7-15 The PROPERTIES palette displayed on choosing the Wire tool
WIRE
This tool is used to add a wire in the drawing area.
choose the Wire tool from the Build panel in the Home tab of the Ribbon; you will be prompted to specify the start point of the wire and the corresponding PROPERTIES palette will be displayed.

## Slide 16
Figure 7-16 The PROPERTIES palette displayed on choosing the Conduit tool
CONDUIT
The Conduit tool is used to add conduits to the drawing area.
choose this tool from the Conduit drop-down of the Build panel in the Home tab of the Ribbon; the PROPERTIES palette will be displayed.

## Slide 17
Figure 7-17 The Conduit Layout Preferences dialog box
The options in this dialog box are used to define the layout preferences for creating a conduit.
Using the options in this dialog box, you can set the preferences for Slope, Elevation, Label style, Flow arrow style, and other parameters.
Preferences

## Slide 18
The Parallel Conduits tool is used to add parallel conduits to the drawing area. To do so, choose this tool from the Conduit drop-down in the Build panel of the Home tab in the Ribbon; you will be prompted to select baseline objects.
Figure 7-18 The parallel conduits created
PARALLEL CONDUITS

## Slide 19
Figure 7-19 The PROPERTIES palette displayed after choosing the Conduit Fitting tool
The Conduit Fitting tool is used to add fittings to the conduit.
To add a conduit fitting, choose this tool from the Build panel in the Home tab of the Ribbon; you will be prompted to specify an insertion point.
CONDUIT FITTING

## Slide 20
CIRCUIT MANAGER
Figure 7-20 The CIRCUIT MANAGER palette
To create and manage circuits in AutoCAD MEP, the Circuit Manager is used.
To invoke the CIRCUIT MANAGER, choose the CIRCUIT MANAGER tool from the Electrical panel in the Analyze tab of the Ribbon; the CIRCUIT MANAGER palette will be displayed.

## Slide 21
Figure 7-21 The Create Multiple Circuits dialog box
Create Multiple Circuits
This tool is used to create multiple circuits at a time.
Choose the Create Multiple Circuits tool available at the bottom of the CIRCUIT MANAGER palette; the Create Multiple Circuits dialog box will be displayed.